## Sheet1
	evp_air_m_dot	cnd_air_m_dot	T_evp_air_in	W_evp_air_in	RH_evp_air_in	T_cnd_air_in	W_cnd_air_in	RH_cnd_air_in	n_cmp	dT_sh	T_evp_air_out	W_evp_air_out	RH_evp_air_out	T_cnd_air_out	W_cnd_air_out	RH_cnd_air_out	evp_Q_dot	cnd_Q_dot	cmp_W_dot	rfg_m_dot	COP	EER	evp_eps	cnd_eps	T_evp	P_evp	T_cnd	P_cnd	dT_sc	T_suction_gas	P_suction_gas	h_suction_gas	T_discharge_gas	P_discharge_gas	h_discharge_gas	T_liquid	P_liquid	h_liquid	T_mixture	P_mixture	h_mixture	x_mixture	evp_air_dP	cnd_air_dP
0	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	2100	10	16.12040099065814	8.413360415952534	73.48531373222865	40.880372898210396	10.589892305191343	21.816019092422366	4.1878673098013435	5.39161074180198	1.2122961769132283	92.14670028778778	4.447436892468144	3.454491888660881	0.506263544268782	0.4675621045627783	9.546998596193305	4.083708589460346	46.257789611815724	11.982490283963905	10.480802955486354	19.546998596193305	4.083708589071939	413.39470236328714	81.11862484314952	11.982490283963905	460.75685665901307	35.77698665632937	11.982490282308017	250.11666433668947	9.546998596193305	4.083708589460346	250.11666433668947	19.4448666746825	22.595960074605323	52.20838730893137
1	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	2400	10	15.686020006156241	8.238799846563278	74.00851261825385	41.71198208032047	10.589892305191343	20.877738682879524	4.7058556502638	6.15337233345456	1.451044581406748	103.98905216965713	4.240650089116513	3.2430813708711836	0.5290011648431764	0.4205243522452136	8.918592047692584	3.9983818575555823	49.34070432299882	12.962013954520897	13.48426780442469	18.918592047692584	3.9983818571991665	413.0134396021434	84.74411837675399	12.962013954520897	463.2471938681342	35.85643651857413	12.962013951980472	250.2234193625698	8.918592047692584	3.9983818575555823	250.2234193625698	19.898316930679666	22.53038707741117	52.2995258144835
2	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	2700	10	15.500372717171444	8.16447797393045	74.2278433077886	42.33286862371625	10.589892305191343	20.207087565636563	4.862979457519847	6.719182312699597	1.8556230675823358	109.38519214509387	3.6209844715144235	2.620672022500643	0.5306055501703175	0.24446184131338933	8.644788606463578	3.9616326359235323	62.45573664504502	17.81669090996784	24.824295216720714	18.644788606463578	3.961632635580264	412.8470460069418	100.36464587697066	17.81669090996784	473.9178629269942	37.63144142832431	17.81669089395934	252.78138319550538	8.644788606463578	3.9616326359235323	252.78138319550538	21.40415935962619	22.501644538843852	52.43341123539736
3	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	3000	10	14.779550399188452	7.882342478395473	75.09851034650885	42.897922833986	10.589892305191343	19.61797193138254	5.466569124799028	7.243641876908622	1.7713729528590667	128.98696765497556	4.089281065976024	3.0860633363379333	0.5362346698972017	0.5646523318665893	7.580129663276409	3.821181572103297	46.78032675199205	12.14446821127802	4.717463418525881	17.58012966327641	3.8211815718069273	412.19848683010696	82.1595286483543	12.14446821127802	461.6371452171289	42.06286333346617	12.14446821048979	259.4685755471748	7.580129663276409	3.821181572103297	259.4685755471748	25.53472344033072	22.39514242731216	52.90024631734531
4	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	3300	10	14.22047515583472	7.675230943998627	75.84238369303013	43.66874911669288	10.589892305191343	18.84556426425665	5.922256250508391	7.94787238072243	2.0256397705029228	135.64219086670298	3.9236356317930823	2.9236473023226743	0.5429782386979131	0.46187314863618095	6.814235687257337	3.7225207287469986	51.378078460988036	13.641519775313242	12.583983887573652	16.814235687257337	3.7225207284805566	411.73042276655167	87.69400056963786	13.641519775313242	465.4917423617962	38.794094573414384	13.641519772416665	254.55191318491123	6.814235687257337	3.7225207287469986	254.55191318491123	23.45097266901625	22.307079660315463	52.76007389365013
5	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	3600	10	13.79285077057483	7.517187948025585	76.39086236469458	44.258151350003004	10.589892305191343	18.278269514602467	6.270254606860355	8.487943159875668	2.2168169829772904	144.2106163550936	3.8288876461402594	2.828494483310528	0.5459968037913249	0.4566377313869849	6.188982951642231	3.643430978176801	52.64570215353592	14.077578432660374	13.68128274960111	16.18898295164223	3.643430977932654	411.3473939690328	89.34402240588815	14.077578432660374	466.6868782621891	38.96441940393481	14.077578429198248	254.79821050757596	6.188982951642231	3.643430978176801	254.79821050757596	23.957387938683457	22.234159176852742	52.886794091416704
6	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	3900	10	13.497633054967366	7.410280747984946	76.77882967422019	44.81423400192409	10.589892305191343	17.760808076987477	6.508130600206503	8.995638421569952	2.4874217512475756	149.4671935434468	3.6164508158128617	2.616416213672782	0.5480468051532161	0.3785809106579983	5.758653607963311	3.589748946273439	57.83560176566493	15.973059419359739	19.169511247958837	15.75865360796331	3.5897489460436023	411.08330359063956	95.58159331301829	15.973059419359739	470.9942318161743	38.666090517706095	15.973059411557966	254.32930655792066	5.758653607963311	3.589748946273439	254.32930655792066	23.97539386777048	22.18606274582683	53.164369809758355
7	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	4200	10	13.05130007358099	7.250719682794125	77.36680683279815	45.21475770935848	10.589892305191343	17.39843163168644	6.8654460598314655	9.366917161084046	2.502369294964252	163.0654532735836	3.74321934813297	2.7435782854462905	0.5486912314806739	0.5272454980742552	5.060880374908493	3.503993129233277	51.312422544073684	13.619214166620603	9.469497902948888	15.060880374908493	3.5039931290249755	410.6542789741215	88.03809364965832	13.619214166620603	465.8991470991199	41.842924641124796	13.619214164774991	259.1054878479037	5.060880374908493	3.503993129233277	259.1054878479037	26.847848026913862	22.12018784806132	53.5037113430093
8	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	4500	10	12.6913457733271	7.126324042909791	77.86900983955299	45.71136943912569	10.589892305191343	16.960757088060323	7.149061946069305	9.821872474426412	2.67288156880509	170.05251977279602	3.674638109318578	2.6746646875436717	0.5504318112966227	0.5177324215001068	4.524846220018958	3.4391873532947983	52.425075560922664	14.000941642742928	10.660137589096621	14.524846220018958	3.439187353101735	410.3240312755836	89.44848312343521	14.000941642742928	466.9087479297248	41.76493797182604	14.000941640469911	258.9803917067342	4.524846220018958	3.4391873532947983	258.9803917067342	27.098650510725054	22.063060046891458	53.58990027385512
9	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	4800	10	12.339115660666096	7.0073330898031525	78.37582472327523	46.226282117014534	10.589892305191343	16.520149285161693	7.423666966445321	10.29244944756605	2.8685293674437213	174.96025022563137	3.588057896279488	2.587969658146081	0.5525699016949577	0.4802033451481605	4.010626220707252	3.3778856638871155	54.913684844973375	14.88378811287957	14.29235560813305	14.010626220707252	3.3778856637076764	410.0066851349588	92.48160038471087	14.88378811287957	469.02983873380913	40.621329236840324	14.883788108752903	257.2513463993851	4.010626220707252	3.3778856638871155	257.2513463993851	26.515060300438638	22.0083699918981	53.518187407164696
10	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	5100	10	12.062245773476377	6.9154725736343	78.78301836770382	46.70603155180669	10.589892305191343	16.121336649569066	7.637721977679548	10.730035713104849	3.0921672286532216	178.22174252329384	3.4700696694784727	2.470022289514439	0.5542686337561259	0.4261760224900341	3.607440185542316	3.3304092437161428	58.702529907240205	16.307492341331645	19.25905891671789	13.607440185542316	3.330409243546748	409.75749834246875	97.07372531739577	16.307492341331645	472.21790225000257	39.443470990522314	16.307492332867852	255.47594910627367	3.607440185542316	3.3304092437161428	255.47594910627367	25.844699478463955	21.956476746896815	53.39500217538156
11	1500.0	3216.315	24.0	9.340309771055285	50.0	35.0	10.589892305191343	30.0	5400	10	11.798322101025235	6.829597217371169	79.18246665718699	47.10468430541664	10.589892305191343	15.798275318732047	7.839933438671114	11.095034558349392	3.255255581901805	183.66981541189796	3.408345145012357	2.4083925951186975	0.5549894498211835	0.417960517928656	3.20568828582833	3.283612271678697	59.949499607086636	16.79775585865289	20.251561205729672	13.20568828582833	3.283612271518782	409.5088828106941	98.62887567404312	16.79775585865289	473.3131615296525	39.697938401356964	16.79775584857824	255.84615792601952	3.20568828582833	3.283612271678697	255.84615792601952	26.269421137581624	21.91497084714041	53.54284218305908